Woodstock General Hospital Energy Consumption and Greenhouse Gas Emissions Reporting for the period of **Jan/2023** to **Dec/2023**.

|  |  |
| --- | --- |
| Operation Name | WH – New Site Administrative |
| Operation Type | Administrative offices and related facilities |
| Address | 310 Juliana Street |
| City | Woodstock |
| Postal Code | N4V 0A4 |
| Total Floor Area (m2) | 2,678.00 Square meters |
| Avg hrs/wk | 60 |
| Electricity Quantity (kWh) | 191,627.78 kWh |
| Natural Gas Quantity (m3) | 202,333.84 Cubic Meter |
| Diesel Oil (L) | 801.85 Liters |
| Propane (L) | 151.62 Liters |
| GHG Emissions (kgCO2e) | 396,869.36 kgCO2e |
| Comments | 12th year of operation |

|  |  |
| --- | --- |
| Operation Name | WH – New Site |
| Operation Type | Facilities used for hospital purposes |
| Address | 310 Juliana Street |
| City | Woodstock |
| Postal Code | N4V 0A4 |
| Total Floor Area (m2) | 29,838.00 Square meters |
| Avg hrs/wk | 168 |
| Electricity Quantity (kWh) | 2,135,097.06219 kWh |
| Natural Gas Quantity (m3) | 2,254,382.85 Cubic Meter |
| Diesel Oil (L) | 8,934.14 Liters |
| Propane (L) | 1,689.37625 Liters |
| GHG Emissions (kgCO2e) | 4,421,877.47 kgCO2e |
| Comments | 12th year of operation |

|  |  |
| --- | --- |
| Operation Name | WH – Finkle St. Medical Centre |
| Operation Type | Administrative offices and related facilities |
| Address | 645 Finkle St. |
| City | Woodstock |
| Postal Code | N4V 0E1 |
| Total Floor Area (m2) | 3,283.20 Square meters |
| Avg hrs/wk | 50 |
| Electricity Quantity (kWh) | 135,346 kWh |
| Natural Gas Quantity (m3) | 25,853 Cubic Meters |
| GHG Emissions (kgCO2e) | 53,723.99 kgCO2e |
| Comments | Majority of the building unoccupied |

|  |  |
| --- | --- |
| Operation Name | WH – Medical Building |
| Operation Type | Administrative offices and related facilities |
| Address | 333 Athlone Ave |
| City | Woodstock |
| Postal Code | N4V 0A4 |
| Total Floor Area (m2) | 2,497.00 Square meters |
| Avg hrs/wk | 50 |
| Electricity Quantity (kWh) | 255,836 kWh |
| Natural Gas Quantity (m3) | 34,989 Cubic Meter |
| GHG Emissions (kgCO2e) | 74,888.95 kgCO2e |
| Comments | 11th year of operation |